MEDICAL DEVICES QUALITY MANAGEMENT POLICY TEMPLATE

This template defines the quality management policy framework for a large-scale organization engaged in the design, manufacture, import, storage, distribution, installation, servicing, and commercialization of medical devices. It is written for adaptation into a controlled quality management system document and should be approved by executive management before implementation.

# DOCUMENT CONTROL INFORMATION

| Field | Required entry |
| --- | --- |
| Document ID | STK-ISO13485-P4-POL-001 |
| Process area | ISO 13485 quality management system - design and development control |
| Document owner | Vice President, Quality Management |
| Approved by | Chief Quality Officer |
| Effective date | [YYYY-MM-DD] |
| Version | 1.0 |
| Confidentiality | Internal controlled document |
| Review cycle | Annual or upon significant regulatory, process, product, or organizational change |

[Note] for implementation consultants: Confirm that this document is issued through the organization document control procedure and that the effective version is available at points of use across design, manufacturing, regulatory, purchasing, service, and commercial sites.

## REVISION HISTORY

Use the blank table below to document organization-specific information. Maintain objective evidence, controlled record references, and approval status before releasing this template for operational use.

| Version | Date | Description of change | Prepared by | Reviewed by | Approved by |
| --- | --- | --- | --- | --- | --- |

Example table populated with practical entries for a large medical device manufacturer and distributor:

| Version | Date | Description of change | Prepared by | Reviewed by | Approved by |
| --- | --- | --- | --- | --- | --- |
| 1.0 | 2026-01-15 | Initial release aligned with ISO 13485:2016 clauses 4, 5, 6, 7 and 8. | Elena Fischer | Martin Keller | Sophie Laurent |
| 1.1 | 2026-03-02 | Added design transfer governance and post-market feedback escalation. | Thomas Berger | Charlotte Meyer | Sophie Laurent |
| 1.2 | 2026-05-20 | Updated risk management references to ISO 14971:2019. | Amelia Ross | Lukas Schneider | Isabelle Moreau |
| 1.3 | 2026-07-18 | Expanded supplier interface controls for outsourced design verification. | Nicolas Weber | Eva Hartmann | Sophie Laurent |
| 1.4 | 2026-09-10 | Added EU MDR and UDI linkage in quality planning records. | Marta Klein | Oliver Novak | Isabelle Moreau |
| 1.5 | 2026-11-29 | Included global distribution quality requirements and recall communication matrix. | Julian Meyer | Anne Dupont | Sophie Laurent |

# 1. PURPOSE

The purpose of this quality management policy is to establish top management commitment to the implementation, maintenance, and continual effectiveness of a medical device quality management system that conforms to ISO 13485:2016 and applicable regulatory requirements. The policy provides direction for quality planning, design and development control, risk management, production and service provision, supplier management, post-market surveillance, distribution controls, and continual improvement of the quality management system.

The policy is intended to ensure that medical devices consistently meet customer requirements, intended use, safety and performance expectations, applicable statutory and regulatory requirements, and internally defined quality objectives. It also establishes a consistent framework for decision making across corporate functions, regional sites, manufacturing plants, contract manufacturers, logistics operations, and commercial affiliates.

[Note] for implementation consultants: Tailor the policy wording to the legal manufacturer name, device portfolio, regulatory jurisdictions, and scope shown on the ISO 13485 certificate. Avoid making commitments that cannot be supported by documented processes and measurable objectives.

# 2. SCOPE

This policy applies to all employees, temporary staff, contractors, consultants, outsourced process partners, authorized representatives, importers, distributors, service partners, and critical suppliers performing activities that can affect the quality, safety, performance, regulatory compliance, or availability of medical devices placed on the market under the organization name or responsibility.

Corporate quality management, regulatory affairs, clinical, medical safety, legal, compliance, and executive governance activities.

Research, design and development, design transfer, manufacturing engineering, validation, production, packaging, labeling, release, storage, and distribution activities.

Purchasing, supplier qualification, outsourced process control, service, installation, complaint handling, adverse event reporting, field safety corrective action, recall, and post-market surveillance activities.

Commercial processes that can affect regulated claims, product traceability, customer feedback, and regulatory commitments.

# 3. QUALITY POLICY STATEMENT

The organization is committed to designing, manufacturing, distributing, and supporting medical devices that are safe, effective, reliable, compliant, and suitable for their intended use. We shall maintain an effective quality management system based on ISO 13485:2016, applicable regulatory requirements, risk-based thinking, product life-cycle controls, and a culture of accountability. We shall establish measurable quality objectives, provide competent resources, control outsourced processes, protect product integrity, respond promptly to quality signals, and continually improve the effectiveness of the quality management system.

Top management shall ensure that this quality policy is communicated, understood, implemented, maintained, and reviewed for continuing suitability. Every function and site shall translate this policy into practical objectives and performance indicators aligned with patient safety, customer satisfaction, regulatory compliance, process effectiveness, and business continuity.

[Note] for implementation consultants: The quality policy should be short enough to communicate across the enterprise but supported by detailed procedures, metrics, and management review inputs. Verify that employees can explain how their role contributes to policy objectives during certification and regulatory audits.

# 4. QUALITY PRINCIPLES AND COMMITMENTS

## PATIENT AND USER SAFETY

Quality decisions shall prioritize patient, user, and third-party safety. Product risks shall be identified, evaluated, controlled, monitored, and communicated throughout the product life cycle.

## REGULATORY COMPLIANCE

Applicable requirements in each target market shall be identified, translated into quality system and product requirements, implemented, monitored, and maintained as controlled information.

## EFFECTIVE DESIGN AND DEVELOPMENT CONTROL

Design outputs shall be verified against design inputs, validated against user needs and intended use, reviewed at planned stages, transferred under controlled conditions, and maintained in the design and development file.

## RISK-BASED PROCESS CONTROL

The organization shall apply proportionate controls to processes and outsourced activities based on product risk, process impact, supplier performance, and regulatory significance.

## DATA INTEGRITY AND OBJECTIVE EVIDENCE

Records shall be attributable, legible, contemporaneous, original or true copy, accurate, complete, consistent, enduring, and available for the required retention period.

## CONTINUAL EFFECTIVENESS

Corrective action, preventive action, audit, complaint, service, nonconformity, post-market, and management review data shall be used to maintain and improve quality management system effectiveness.

## QUALITY OBJECTIVES DEPLOYMENT MATRIX

Use the blank table below to document organization-specific information. Maintain objective evidence, controlled record references, and approval status before releasing this template for operational use.

| Corporate objective | Process owner | KPI / measurement | Target | Monitoring frequency | Record reference |
| --- | --- | --- | --- | --- | --- |

Example table populated with practical entries for a large medical device manufacturer and distributor:

| Corporate objective | Process owner | KPI / measurement | Target | Monitoring frequency | Record reference |
| --- | --- | --- | --- | --- | --- |
| Reduce confirmed complaint rate for infusion pump portfolio | Global Head of Quality | Complaints per 1,000 units distributed | <= 0.8 | Monthly | QMR dashboard QD-001 |
| Improve design verification right-first-time rate | Director of R&D | Verification protocols passed without major rework | >= 95% | Per design review | DHF review report |
| Maintain supplier release conformity | Chief Procurement Officer | Accepted incoming lots from critical suppliers | >= 98% | Monthly | Supplier scorecard SQ-014 |
| Ensure regulatory reporting timeliness | VP Regulatory Affairs | Reportable events submitted by due date | 100% | Monthly | Vigilance log RA-009 |
| Control distribution temperature excursions | Global Logistics Director | Closed excursions with documented disposition | 100% | Weekly | Cold chain record LOG-022 |
| Complete role-based QMS training | HR Quality Learning Lead | Personnel trained before task assignment | 100% | Monthly | LMS transcript TRN-004 |

[Note] for implementation consultants: Set quality objectives that are measurable, linked to risks, reviewed during management review, and cascaded to departments and sites. Targets should be realistic, but sufficiently demanding to drive improvement.

# 5. ROLES, RESPONSIBILITIES, AND AUTHORITIES

Top management retains ultimate accountability for quality management system effectiveness and shall ensure availability of resources, assignment of authorities, independence of quality decision making, and alignment of quality objectives with strategic direction. Functional leaders are accountable for implementing the policy in their areas and ensuring that personnel understand applicable procedures and regulatory obligations.

## RESPONSIBILITY ASSIGNMENT TABLE

Use the blank table below to document organization-specific information. Maintain objective evidence, controlled record references, and approval status before releasing this template for operational use.

| Role | Primary responsibilities | Decision authority | Required records | Escalation trigger | Backup role |
| --- | --- | --- | --- | --- | --- |

Example table populated with practical entries for a large medical device manufacturer and distributor:

| Role | Primary responsibilities | Decision authority | Required records | Escalation trigger | Backup role |
| --- | --- | --- | --- | --- | --- |
| Chief Executive Officer | Approve quality policy and ensure resources for QMS effectiveness. | Final executive authority for quality strategy. | Management review minutes. | Unresolved systemic quality risk. | Chief Operating Officer |
| Chief Quality Officer | Maintain QMS, approve quality procedures, chair quality council. | Stop shipment or quarantine product. | Quality council decisions. | Patient safety signal or audit major finding. | VP Quality Systems |
| VP Regulatory Affairs | Maintain regulatory intelligence and market authorization requirements. | Authorize regulatory submissions and reporting positions. | Regulatory assessment records. | Potential reportable event. | Regional Regulatory Director |
| R&D Director | Ensure design controls, risk management, verification, validation, and transfer. | Approve design phase gate readiness. | Design review records. | Unresolved design input or V&V failure. | Design Assurance Manager |
| Manufacturing Site Director | Implement validated production and process controls. | Release site resources and execute containment. | Batch and DHR records. | Process nonconformity trend. | Operations Manager |
| Commercial Quality Lead | Control distribution, complaints intake, and customer feedback escalation. | Initiate product hold in distribution. | Complaint and distribution logs. | Suspected field safety issue. | Regional Quality Manager |

# 6. POLICY REQUIREMENTS

## QUALITY MANAGEMENT SYSTEM PLANNING

Quality planning shall define processes, sequence and interaction, risk-based controls, resources, responsibilities, outsourced process controls, documented information, and criteria for monitoring effectiveness. Changes to the quality management system shall be planned, assessed for risk, approved, communicated, implemented, and verified for effectiveness.

## CUSTOMER AND REGULATORY REQUIREMENTS

Customer requirements, intended use, user needs, applicable regulatory requirements, product standards, labeling requirements, country-specific obligations, and post-market commitments shall be identified and incorporated into the quality management system and product realization planning.

## COMPETENCE AND AWARENESS

Personnel performing work that affects quality shall be competent based on education, training, skills, and experience. Training effectiveness shall be evaluated using defined criteria such as assessment, observation, quality performance, or supervisor verification.

## DOCUMENTED INFORMATION AND RECORD CONTROL

Documents required by the quality management system shall be reviewed, approved, version controlled, available at points of use, protected from unintended use, and retained according to regulatory and business requirements. Records shall provide objective evidence that requirements have been fulfilled.

## SUPPLIER AND OUTSOURCED PROCESS MANAGEMENT

Suppliers and outsourced process providers shall be evaluated, selected, monitored, and re-evaluated based on their ability to meet specified requirements and the impact of supplied product or service on medical device quality and safety.

## POST-MARKET FEEDBACK AND VIGILANCE

The organization shall collect and analyze feedback from production, distribution, service, complaints, users, literature, regulatory authorities, and post-market surveillance. Signals requiring corrective action, field action, or regulatory reporting shall be escalated without delay.

## QUALITY POLICY COMMUNICATION AND AWARENESS PLAN

Use the blank table below to document organization-specific information. Maintain objective evidence, controlled record references, and approval status before releasing this template for operational use.

| Audience | Communication method | Frequency | Key message | Evidence of completion | Owner |
| --- | --- | --- | --- | --- | --- |

Example table populated with practical entries for a large medical device manufacturer and distributor:

| Audience | Communication method | Frequency | Key message | Evidence of completion | Owner |
| --- | --- | --- | --- | --- | --- |
| Executive committee | Management review presentation | Quarterly | Quality policy performance and enterprise risks. | Signed management review minutes. | Chief Quality Officer |
| Manufacturing operators | Shift brief and LMS module | Annual and upon revision | Product conformity, traceability, and escalation duties. | Training transcript and attendance log. | Site Quality Manager |
| R&D personnel | Design control workshop | Annual and before design gate | Design inputs, risk controls, V&V, DHF completeness. | Workshop record and assessment score. | Design Assurance Manager |
| Distribution partners | Quality agreement briefing | Upon onboarding and renewal | Storage, traceability, complaint reporting, field action support. | Signed quality agreement. | Commercial Quality Lead |
| Critical suppliers | Supplier quality business review | Semiannual | Change control, nonconformity, validation, and notification duties. | Supplier meeting minutes. | Supplier Quality Director |
| Service engineers | Field service training package | Annual | Service records, complaint escalation, calibrated tools. | Training record and service audit. | Service Quality Manager |

# 7. MANAGEMENT REVIEW AND POLICY REVIEW

Top management shall review the quality policy and the quality management system at planned intervals to ensure continuing suitability, adequacy, and effectiveness. Management review shall consider audit results, feedback, process performance, product conformity, corrective action, preventive action, regulatory changes, supplier performance, complaints, post-market surveillance, adverse events, field actions, resource needs, quality objectives, and opportunities for improvement.

Outputs shall include decisions and actions related to quality management system improvement, product improvement, resource needs, regulatory compliance actions, quality objective updates, and changes required to maintain the policy and quality system effectiveness.

[Note] for implementation consultants: Ensure management review records show evidence of executive decisions, assigned actions, due dates, and follow-up on prior commitments. Auditors frequently challenge management review minutes that simply list metrics without documented decisions.

# 8. ENFORCEMENT AND ESCALATION

All personnel have authority and responsibility to report actual or potential quality, safety, regulatory, ethical, or data integrity concerns. No person shall be penalized for good-faith escalation of quality or compliance concerns. Product shipment, release, or distribution may be stopped by authorized quality personnel when product conformity, patient safety, regulatory compliance, or traceability is uncertain.

Any deviation from this policy shall be documented, justified, risk assessed, approved by authorized quality leadership, and corrected through the applicable nonconformity, deviation, CAPA, or change control process.

# 9. IMPLEMENTATION CHECKLIST

## POLICY IMPLEMENTATION CHECKLIST

Use the blank table below to document organization-specific information. Maintain objective evidence, controlled record references, and approval status before releasing this template for operational use.

| Implementation item | Acceptance criteria | Responsible function | Due date | Status | Evidence location |
| --- | --- | --- | --- | --- | --- |

Example table populated with practical entries for a large medical device manufacturer and distributor:

| Implementation item | Acceptance criteria | Responsible function | Due date | Status | Evidence location |
| --- | --- | --- | --- | --- | --- |
| Approve quality policy | Policy approved by CEO and Chief Quality Officer. | Executive management | 2026-02-01 | Completed | DMS record POL-001 |
| Map policy to quality objectives | Each objective linked to process KPI and risk priority. | Quality systems | 2026-02-15 | Completed | QMS planning matrix |
| Train global workforce | All impacted personnel trained before effective date. | HR learning | 2026-03-01 | In progress | LMS campaign ISO13485-POL |
| Update supplier quality agreements | Critical suppliers notified of policy commitments. | Supplier quality | 2026-03-15 | Planned | SQ agreement addendum |
| Align management review agenda | Agenda includes policy suitability and effectiveness. | Quality council secretary | 2026-03-30 | Completed | Management review template |
| Communicate to distributors | Distribution obligations translated into local onboarding packs. | Commercial quality | 2026-04-15 | Planned | Distributor portal release note |

# 10. REFERENCED STANDARDS AND GUIDANCE

ISO 13485:2016 - Medical devices - Quality management systems - Requirements for regulatory purposes: https://www.iso.org/standard/59752.html

ISO overview page for ISO 13485 medical devices: https://www.iso.org/iso-13485-medical-devices.html

ISO 14971:2019 - Medical devices - Application of risk management to medical devices: https://www.iso.org/standard/72704.html

ISO/TC 210 information on ISO 13485 use by organizations involved in design, production, installation and servicing: https://committee.iso.org/sites/tc210/home/news/content-left-area/news-and-updates/iso-13485--medical-devices--qual.html

IMDRF/GHTF guidance on quality systems for the design and manufacture of medical devices: https://www.imdrf.org/sites/default/files/docs/ghtf/final/sg3/technical-docs/ghtf-sg3-n99-8-guidance-on-quality-990629.doc